## Sheet1
Category | Part name | manufacturer | type | alternative type | amount | price per unit (approx., EUR, ex. VAT) | subtotal
24V circuit | System Power in connector w/switch | Bulgin | BZH01/Z0000/11 |  | 1 | 33.24 | 33.24
| 24V power supply | PULS | MiniLine ML15.241 |  | 1 | 40.72 | 40.72
| Signal lamp 24V, green | Schneider Electric | XVLA333 |  | 1 | 17.3 | 17.3
| Safety vacuum switch (external) | Edwards Vacuum | IS16K |  | 1 |  | 0
| Relay socket | Finder (or Finder Varitec) | 90.73 | 90.03 | 2 |  | 0
| Relay | ABB | CR-U024DC3L |  | 2 | 15.39 | 30.78
| M12 4-pole connector | RS Pro | 8771110 |  | 1 | 19.94 | 19.94
0
230V circuit | Interlocked power in/out connector | Bulgin | PX0718 |  | 1 | 16.42 | 16.42
| Signal lamp 230V, orange | Schneider Electric | XB5EVM5 |  | 1 | 36.6 | 36.6
| Signal lamp 230V, red | Schneider Electric | XB5EVM4 |  | 1 | 36.6 | 36.6
| Combo resettable fuse and RCD | Kopp | KS 68 B16A LS-DI | ABB DS202C | 1 | 136.8 | 136.8
| Wire, 1.5 mm2, various colors | RS Pro | 2491B |  | 100 | 0.6704 | 67.04
| Connection block end clamp | Weidmuller | RS: 2959140 |  | 6 | 2.86 | 17.16
| Earth terminal clamp | Phoenix Contact | UT-4-PE | RS: 6273894 | 2 | 3.06 | 6.12
| Connection block, various colors | Weidmuller | WDU |  | 6 | 1.82 | 10.92
0
Enclosure | 19" rack mountable enclosure | Thorlabs | EC3U |  | 1 | 317.62 | 317.62
| compatible mounting board | Thorlabs | ECUMB |  | 1 | 19.78 | 19.78
| DIN-rail | RS Pro | 467406 |  | 1 | 4.65 | 4.65
Total price ex VAT | [6 empty] | 811.69